## Occu-Calc
OCCU-SMART SAVINGS CALCULATOR
SIMPLY ENTER THE VARIABLES IN THE SPACES BELOW
HOURS/DAY LIGHTS ARE ON |  | 24 |  | WATTAGE TABLE - FULL WATTAGE (SENSORED WATTAGE)
HOURS PER DAY SPACE IS OCCUPIED |  | 1.5 |  |  |  | LIGHTING OPTION
(Note: Average Stairwells are Occupied less than 5% per 24 hr Day (1.2 hrs.))
[6 empty] | 2C | FO | AS (10%) | AS (30%)
ENERGY RATE kWh ($) |  | 0.2 |  | VOL/C2L 2' | LOW OUTPUT | 12 | 15 | 15 | 15
[6 empty] | 6 | 0 | 4 | 5
TOTAL WATTAGE OF EXISTING SYSTEM (1 FIXTURE) |  | 59
[5 empty] | MED OUTPUT | 17 | 23 | 23 | 23
TOTAL WATTAGE OF PROPOSED SYSTEM (1 FIXTURE - FULL LIGHT) |  | 14 |  |  |  | 8.5 | 0 | 5 | 8
TOTAL STANDBY WATTAGE (1 FIXTURE) |  | 3 | S |  | HIGH OUTPUT | 29 | 28 | 29 | 29
|  |  | E |  |  | 14.5 | 0 | 6 | 9
TOTAL NUMBER FIXTURES (EXISTING SYSTEM) |  | 1 | R
TOTAL NUMBER FIXTURES (PROPOSED LAMAR OCCU-SMART SYSTEM) |  | 1 | I | VOL/C2L 4' | LOW OUTPUT | 24 | 24 | 24 | 24
|  |  | E |  |  | 12 | 0 | 8 | 10
NEW FIXTURE COST (1 FIXTURE) |  | 185 | S
[5 empty] | MED OUTPUT | 34 | 34 | 34 | 34
APPLICABLE REBATE (PER FIXTURE) |  | 75 |  |  |  | 17 | 0 | 10 | 16
COST PER WATT PER YEAR |  | 1.752 |  |  | HIGH OUTPUT | 48 | 48 | 49 | 49
[6 empty] | 24 | 0 | 12 | 18
ANNUAL COST TO OPERATE EXISTING SYSTEM (PER FIXTURE) |  | 103.368
TOTAL ANNUAL COST TO OPERATE EXISTING SYSTEM |  | 103.368
ANNUAL COST TO OPERATE LAMAR OCCU-SMART SYSTEM (1 FIXTURE-FULL OUTPUT) |  | 24.528
TOTAL ANNUAL COST TO OPERATE LAMAR OCCU-SMART SYSTEM (FULL OUTPUT) |  | 24.528
ANNUAL COST TO OPERATE 1 FIXTURE (BASED UPON OCCUPANCY) |  | 6.4605
TOTAL ANNUAL COST TO OPERATE OCCUSMART SYSTEM (BASED UPON OCCUPANCY) |  | 6.4605
ANNUAL SAVINGS PER FIXTURE (0% OCCUPANCY- REDUCED OUTPUT) |  | 19.272
ANNUAL SAVINGS PER FIXTURE (BASED UPON OCCUPANCY) |  | 18.0675
TOTAL ANNUAL SAVINGS (BASED UPON OCCUPANCY) |  | 96.9075
PAYBACK (YEARS) BASED UPON OCCUPANCY |  | 1.1351
PAYBACK EXPRESSED IN RETURN ON INVESTMENT |  | 88.1%
Lamar Lighting 485 Smith St., Farmingdale, NY 11735
Ph (631) 777-7700, Fx (631)-777-7705
LAMAR LED